## README
US ELECTRICITY DEMAND 2025 → 2040 — BOTTOM-UP MODEL
Nine demand blocks. Every figure outside the Assumptions tab is a live formula.
HOW TO USE THIS
1. Go to the Assumptions tab. Edit the YELLOW cells only — those are the inputs.
2. Each input has Low / Central / High values. Change any one and every other tab recalculates.
3. Summary shows the 2040 answer and the attribution. Reconciliation cross-checks it against utility peak forecasts.
4. Sources tells you which inputs are published and which are guesses. Read this before quoting any number.
COLOUR CONVENTION
BLUE text on YELLOW fill = a hardcoded input. Edit these.
GREEN text = a formula pulling from another tab. Do not overwrite.
BLACK text = a formula calculated on this tab. Do not overwrite.
ORANGE / peach fill = something that needs your attention: an unsourced input, or a failed cross-check.
THE METHOD
Each block is built as: Δ stock × service per unit ÷ efficiency
Units cancel to kWh per year. Example — light-duty EVs: 64M vehicles × 12,000 miles ÷ 3.4 mi/kWh = 226 TWh.
Divide by efficiency, never multiply: a MORE efficient device must use LESS energy. If improving the number raises energy, the operation is inverted.
'Net of efficiency' means the block reports growth MINUS the efficiency savings happening inside that same block — not a gross figure with savings lumped elsewhere.
WHAT THIS MODEL IS HONEST ABOUT
Blocks 1 and 9 are ~70% of the growth. Block 1 is well-sourced only through 2030; roughly half its contribution rests on an extrapolation.
Block 9 (Industrial, +250 TWh) has NO published source at all. It is the second-largest block and the least defensible. Fix this first.
The blocks that ARE well-sourced (households, EV intensity, current data centre levels) contribute under 20% combined.
A nine-row table looks like bottom-up rigour. Six of those rows are judgment dressed as arithmetic. Anyone who probes one will find it.
KNOWN LIMITATIONS
Efficiency drag is applied to the 2025 base, not to the growing stock. This slightly overstates the net figure in blocks 6 and 8.
Homes converted in block 5 also sit inside block 6's base, so their efficiency savings are marginally double-counted. Immaterial at this scale, but state it.
The 2025 base should be weather-normalised before use. 2025 was a hot summer.
EIA's own two published growth rates (0.9–1.6%/yr in AEO2026 vs ~2%/yr on its Use of Electricity page) disagree. A component build cannot reach 0.9% unless data centres stall after 2030.

## Assumptions
ASSUMPTIONS — every input the model uses
Blue cells are inputs; edit these. Tier 1 = published figure. Tier 2 = arithmetic on a published figure. Tier 3 = estimate with no published source — treat with caution.
Ref | Driver | Unit | Low | Central | High | Tier | Source / note
① DATA CENTERS (excluding crypto)
DC01 | Data centre electricity, 2024 actual | TWh | 192 | 192 | 192 | 1 | LBNL, US Data Center Energy Usage Report: 2025 Update (Jun 2026)
DC02 | Growth 2024 → 2025 | %/period | 22% | 22% | 22% | 1 | LBNL Reference Case stated growth
DC03 | Data centre electricity, 2030 | TWh | 521 | 649 | 843 | 1 | LBNL: Reference 649; Compounded Uncertainty band 521–843
DC04 | CAGR 2030 → 2040 | %/yr | 2% | 4.4% | 6% | 3 | ESTIMATE. LBNL stops at 2030. Applies IEA's global growth-rate halving to a US series
② CRYPTO MINING
CR01 | Change in crypto load, 2025 → 2040 | TWh | -40 | 0 | 60 | 3 | ESTIMATE. LBNL excludes crypto entirely, so there is no base to build from
③ LIGHT-DUTY ELECTRIC VEHICLES
EV01 | Light-duty EV electricity, 2025 | TWh | 24 | 24 | 24 | 1 | EIA: 24 BkWh in 2025, ~6M EVs on the road
EV02 | Light-duty fleet, 2040 | M vehicles | 290 | 290 | 290 | 3 | ESTIMATE. ~280M today scaled on population. Source properly: FHWA Highway Statistics MV-1
EV03 | BEV share of fleet STOCK, 2040 | % | 12% | 22% | 35% | 3 | ESTIMATE. AEO gives sales shares and one 2060 stock point; no published 2040 stock share exists
EV04 | Electricity per EV per year | kWh | 3700 | 3900 | 4000 | 2 | 24 TWh / 6M vehicles; cross-checks vs 12,000 mi / 3.4 mi per kWh plus charging losses
④ MEDIUM / HEAVY DUTY AND BUSES
MH01 | Class 3–8 fleet, 2040 | M vehicles | 14 | 14 | 14 | 3 | ESTIMATE
MH02 | Zero-emission share of STOCK, 2040 | % | 5% | 10% | 21% | 3 | ESTIMATE
MH03 | Electricity per truck per year | kWh | 25000 | 25000 | 25000 | 3 | ESTIMATE
MH04 | Transit and school buses | TWh | 4 | 8 | 14 | 3 | ESTIMATE
⑤ RESIDENTIAL HEATING FUEL-SWITCHING
RH01 | Gas-to-electric conversions per year | thousand/yr | 300 | 800 | 1400 | 3 | ESTIMATE. AHRI publishes SHIPMENTS, not fuel switches. 3.6M heat pumps shipped ≠ 3.6M homes leaving gas
RH02 | Incremental electricity per conversion | kWh/yr | 4500 | 5000 | 5500 | 3 | ESTIMATE. Space plus water heating. Source properly: EIA RECS
⑥ RESIDENTIAL, ALL OTHER (net of efficiency)
RO01 | Net new households, 2025 → 2040 | M | 8 | 11 | 13 | 2 | Harvard JCHS 2024 Household Projections: 134M (2025) → 143M (2035) → 148M (2045), interpolated
RO02 | Electricity per household per year | kWh | 10300 | 10300 | 10300 | 3 | ESTIMATE, approx EIA average
RO03 | Residential base subject to efficiency drag | TWh | 1440 | 1440 | 1440 | 3 | ESTIMATE. Residential sales ex-heating
RO04 | Efficiency drag on existing stock | %/yr | -0.5% | -0.4% | -0.2% | 3 | ESTIMATE. Slower than commercial because LED gains are largely banked
⑦ COOLING INTENSIFICATION
CO01 | Cooling electricity base, 2025 | TWh | 400 | 400 | 400 | 3 | ESTIMATE. Residential plus commercial cooling
CO02 | Intensification over the period | % | 3.8% | 10% | 19% | 3 | ESTIMATE. Rising cooling degree days; saturation already ~90% so this is intensity, not adoption
⑧ COMMERCIAL EXCLUDING DATA CENTRES (net of efficiency)
CM01 | Commercial ex-data-centre base, 2025 | TWh | 1300 | 1300 | 1300 | 3 | ESTIMATE. Commercial sales less the data centre carve-out (avoids double counting block 1)
CM02 | Floorspace growth | %/yr | 0.6% | 0.9% | 1.2% | 3 | ESTIMATE. Source properly: EIA CBECS / AEO Commercial Module
CM03 | Efficiency drag on existing stock | %/yr | -1% | -0.8% | -0.5% | 3 | ESTIMATE
⑨ INDUSTRIAL (net)
IN01 | Semiconductor fabs | TWh | 30 | 60 | 100 | 3 | ESTIMATE. Source properly: published MW figures in TSMC Arizona, Intel Ohio, Samsung Taylor filings
IN02 | Battery and EV supply chain | TWh | 40 | 70 | 110 | 3 | ESTIMATE. Source properly: DOE battery plant grant filings
IN03 | Electrolytic hydrogen | TWh | 15 | 40 | 80 | 3 | ESTIMATE
IN04 | Electrified process heat | TWh | 20 | 40 | 70 | 3 | ESTIMATE
IN05 | Other reshoring / manufacturing | TWh | 15 | 40 | 60 | 3 | ESTIMATE
SYSTEM PARAMETERS
SY01 | US net generation, 2025 | TWh | 4430 | 4430 | 4430 | 1 | EIA Electricity Data Browser. Weather-normalise before use: 2025 was a hot summer
SY02 | US peak demand, 2025 | GW | 790 | 790 | 790 | 1 | Approx, from Grid Strategies base
SY03 | Blended system load factor, 2040 | % | 66% | 69% | 72% | 3 | ESTIMATE. Rises from 64% today because flat data centre load grows as a share of the mix
SY04 | Data centre load factor | % | 85% | 85% | 85% | 2 | Round-the-clock operation; note LBNL assumes only 50% interconnection utilisation
SY05 | Hours per year | h | 8760 | 8760 | 8760 | 1
SY06 | Utility-forecast peak growth to 2030 | GW | 166 | 166 | 166 | 1 | Grid Strategies, National Load Growth Report
SY07 | of which data centres | GW | 90 | 90 | 90 | 1 | Grid Strategies: data centres ~55% of peak growth
SY08 | Projection horizon | years | 15 | 15 | 15 | 1 | 2025 → 2040

## Build
BUILD — nine demand blocks, 2025 → 2040
Every figure is a formula on the Assumptions tab. Structure of each block: Δ stock × service per unit ÷ efficiency, netted against its own efficiency drag.
Block / component | Low (TWh) | Central (TWh) | High (TWh) | Note
① DATA CENTERS (excluding crypto)
2025 level | 234.24 | 234.24 | 234.24 | 192 TWh (2024) grown at LBNL's stated 2025 rate
2040 level | 635.0961 | 998.2738 | 1509.6846 | 2030 level compounded ten years
Δ TWh | 400.8561 | 764.0338 | 1275.4446 | Largest block and largest source of uncertainty
② CRYPTO MINING
Δ TWh | -40 | 0 | 60 | Assumed flat: miners convert facilities to AI hosting
③ LIGHT-DUTY ELECTRIC VEHICLES
2040 level | 128.76 | 248.82 | 406 | M vehicles × stock share × kWh/yr ÷ 1,000
less: 2025 level | -24 | -24 | -24
Δ TWh | 104.76 | 224.82 | 382 | STOCK share, not sales share
④ MEDIUM / HEAVY DUTY AND BUSES
Class 3–8 trucks | 17.5 | 35 | 73.5
Transit and school buses | 4 | 8 | 14
Δ TWh | 21.5 | 43 | 87.5
⑤ RESIDENTIAL HEATING FUEL-SWITCHING
Cumulative conversions (M homes) | 4.5 | 12 | 21 | Conversions per year × horizon
Δ TWh | 20.25 | 60 | 115.5 | Only 12% of energy growth — but a ~15–25% load factor, so far more of PEAK
⑥ RESIDENTIAL, ALL OTHER (net of efficiency)
New household demand | 82.4 | 113.3 | 133.9
less: efficiency drag on existing stock | -104.3007 | -84.0222 | -42.6004 | Drag applied to the 2025 base, not to the growing stock
Δ TWh | -21.9007 | 29.2778 | 91.2996
⑦ COOLING INTENSIFICATION
Δ TWh | 15.2 | 40 | 76
⑧ COMMERCIAL EXCLUDING DATA CENTRES (net of efficiency)
Floorspace growth | 122.0441 | 186.9996 | 254.7159
less: efficiency drag on existing stock | -181.9241 | -147.5597 | -94.1603
Δ TWh | -59.88 | 39.4399 | 160.5556
⑨ INDUSTRIAL (net)
Semiconductor fabs | 30 | 60 | 100
Battery and EV supply chain | 40 | 70 | 110
Electrolytic hydrogen | 15 | 40 | 80
Electrified process heat | 20 | 40 | 70
Other reshoring / manufacturing | 15 | 40 | 60
Δ TWh | 120 | 250 | 420 | Second-largest block, entirely unsourced — fix this first
TOTAL Δ TWh, 2025 → 2040 | 560.7854 | 1450.5715 | 2668.2998

## Summary
SUMMARY — US electricity demand, 2025 vs 2040
All figures are formulas. Change any input on the Assumptions tab and every number here moves.
| Low | Central | High
US net generation, 2025 (TWh) | 4430 | 4430 | 4430
Total growth to 2040 (TWh) | 560.7854 | 1450.5715 | 2668.2998
US net generation, 2040 (TWh) | 4990.7854 | 5880.5715 | 7098.2998
Growth on 2025 (%) | 12.66% | 32.74% | 60.23%
Implied CAGR (%/yr) | 0.7978% | 1.906% | 3.193%
ATTRIBUTION OF CENTRAL-CASE GROWTH
Block | Δ TWh | % of growth
① Data centers | 764.0338 | 52.67%
② Crypto | 0 | 0%
③ Light-duty EVs | 224.82 | 15.5%
④ Medium/heavy duty | 43 | 2.964%
⑤ Residential heating switch | 60 | 4.136%
⑥ Residential, other | 29.2778 | 2.018%
⑦ Cooling | 40 | 2.758%
⑧ Commercial ex-DC | 39.4399 | 2.719%
⑨ Industrial | 250 | 17.23%
Total | 1450.5715 | 100%
FOUR-BLOCK ROLLUP (as presented on the slide)
Data centers | 764.0338 | 52.67%
Transport | 267.82 | 18.46%
Industrial | 250 | 17.23%
Buildings | 168.7176 | 11.63%
1450.5715

## Reconciliation
RECONCILIATION — does the energy build agree with utility peak forecasts?
Energy (TWh) is how much you use over a year. Peak (GW) is the highest rate in the worst hour. Load factor = energy / (peak × 8,760). You pay for energy; you build for peak.
| Low | Central | High | Note
Load factor today | 64.01% | 64.01% | 64.01% | 4,430 TWh / (790 GW × 8,760 h). System runs at 64% of its worst hour on average
2040 electricity (TWh) | 4990.7854 | 5880.5715 | 7098.2998 | From the Summary tab
Assumed blended load factor, 2040 | 66% | 69% | 72% | Rises because flat data centre load grows as a share of the mix
IMPLIED 2040 peak (GW) | 863.2187 | 972.8958 | 1125.428 | Peak = energy / (load factor × hours). This is an OUTPUT, not a forecast
Implied peak growth vs 2025 (GW) | 73.2187 | 182.8958 | 335.428 | Over fifteen years
Utility-forecast peak growth by 2030 (GW) | 166 | 166 | 166 | Grid Strategies. FIVE years, not fifteen — these cannot both be right
CROSS-CHECK ON THE DATA CENTRE BLOCK
Utility-forecast data centre peak by 2030 (GW) |  | 90 |  | Grid Strategies: data centres ~55% of the 166 GW
Implied data centre energy by 2030 (TWh) |  | 670.14 |  | 90 GW × 85% load factor × 8,760 h
LBNL bottom-up data centre growth 2025→2030 (TWh) |  | 414.76 |  | Built from actual chip and server shipments
GAP (TWh) |  | 255.38 |  | Interconnection-based forecasts imply this much more than the chip-level count
Gap as % of the chip-level build |  | 61.57% |  | If this is large, someone's assumptions are wrong
HOW TO READ THIS: three reconciliations are possible. (1) Utility peak forecasts are inflated — Grid Strategies concedes up to 40%, from developers filing in multiple jurisdictions for one project. (2) Data centre load factor is well below 85% — LBNL assumes only 50% interconnection utilisation. (3) Non-data-centre load is getting far peakier than its energy share implies. Option 3 is the one that matters: heat pumps and EV charging run at 15–25% load factors, so a block that is 12% of ENERGY growth can be 30%+ of PEAK growth. That is where flexibility gets valued — or mispriced.

## Sources
SOURCES — what is published, what is derived, what is a guess
Tier 3 rows have no published source. They are estimates. The right-hand column says where to go and fix that.
Tier | What it covers | Source | Link / where to source it properly
1 | Data centres 192 TWh (2024), 649 TWh (2030), 521–843 band, 33% of load growth | LBNL, US Data Center Energy Usage Report: 2025 Update (Jun 2026) | https://eta.lbl.gov/publications/united-states-data-center-energy-2025
1 | Global data centres 485→950 TWh 2025–30; AI-focused tripling; ~1,200 TWh 2035 | IEA, Key Questions on Energy and AI (Apr 2026) | https://www.iea.org/reports/key-questions-on-energy-and-ai/executive-summary
1 | Growth-rate halving after 2030 (~90 → <50 TWh/yr) | Carbon Brief on IEA data | https://www.carbonbrief.org/ai-five-charts-that-put-data-centre-energy-use-and-emissions-into-context
1 | 4,430 TWh net generation 2025; sector growth rates | EIA Today in Energy #67284 | https://www.eia.gov/todayinenergy/detail.php?id=67284
1 | 6M EVs on the road; 24 TWh light-duty EV electricity 2025; 96 quads total energy | EIA Today in Energy #67824 | https://www.eia.gov/todayinenergy/detail.php?id=67824
1 | 134M households 2025 → 143M 2035 → 148M 2045 | Harvard JCHS 2024 Household Projections | https://www.jchs.harvard.edu/research-areas/working-papers/household-and-new-housing-unit-demand-projections-2025-2035-and-2035
1 | 166 GW peak growth by 2030; ~90 GW data centres; ~30 GW industrial; ~30 GW buildings+transport | Grid Strategies, National Load Growth Report | https://gridstrategiesllc.com/project/load-growth-forecast/
1 | 0.9–1.6%/yr through 2050; BEV 50% of sales by 2032 vs 46% of stock by 2060; flat server load shape | EIA Annual Energy Outlook 2026 | https://www.eia.gov/outlooks/aeo/
1 | The conflicting ~2%/yr figure for the same Counterfactual Baseline | EIA Energy Explained, Use of Electricity | https://www.eia.gov/energyexplained/electricity/use-of-electricity.php
1 | Servers 7% of commercial electricity 2025 → 22–33% by 2050; 446–818 TWh | EIA Today in Energy #67704 | https://www.eia.gov/todayinenergy/detail.php?id=67704
2 | 3,900 kWh per EV per year | 24 TWh / 6M vehicles; cross-checks vs 12,000 mi at 3.4 mi/kWh | Derived — see EIA #67824
2 | 234 TWh data centres 2025 | 192 × 1.22, LBNL's own stated 2025 growth | Derived — see LBNL
2 | +11M households to 2040 | JCHS interpolated between 2035 and 2045 | Derived — see JCHS
3 | Data centre CAGR 2030→2040 (drives ~half of the largest block) | NO SOURCE. Applies IEA's global deceleration to a US series | Watch for LBNL's next update; IEA revises this annually
3 | Industrial block, all five components (+250 TWh central, 17% of growth) | NO SOURCE. Round numbers assigned from sector knowledge | https://www.eia.gov/outlooks/aeo/ — plus published MW in TSMC Arizona, Intel Ohio, Samsung Taylor filings; DOE battery grants
3 | Heating conversions per year | NO SOURCE. AHRI publishes shipments, not fuel switches | https://www.ahrinet.org/analytics/statistics/monthly-shipments and https://rmi.org/resources/tracking-the-heat-pump-water-heater-market-in-the-united-states/
3 | BEV stock share 2040 | NO SOURCE. Interpolated between AEO sales shares and its single 2060 stock point | No published 2040 stock figure exists — build a vintage/retirement schedule
3 | Light-duty fleet size 2040 | NO SOURCE. Scaled on population | FHWA Highway Statistics, Table MV-1
3 | Household kWh, residential base, efficiency drag rates | NO SOURCE | EIA RECS; EIA Electric Power Annual (sales / customers)
3 | Cooling base and intensification | NO SOURCE | NOAA cooling degree day projections × RECS/CBECS cooling shares
3 | Commercial floorspace growth and efficiency rates | NO SOURCE | EIA CBECS; AEO Commercial Demand Module
3 | Crypto held flat | NO SOURCE. LBNL excludes crypto from its base entirely | Cambridge Bitcoin Electricity Consumption Index
3 | Class 3–8 stock, ZEV share, kWh per truck | NO SOURCE | AEO2026 freight tables; NACFE run data
3 | Blended load factor 2040 | NO SOURCE. Judgment on load-shape mix | Derive from FERC Form 714 hourly load data