## Sheet1
Tewke Tap Lights and Drivers Compatibility
Lights Compatibility
Dimmable*
IMG | Type | Manufacturer | Model | Wattage | Min lamps on neutral | Min lamps in parasitic** | Max lamps | Notes
#VALUE! | E27 | Philips | MASTER 60W E27 LED Dimmable | 8.5W | 1 | 2 | 9
#VALUE! | GU10 | Integral | ILGU10DC079 | 7W | 1 | NA | 12 | Only works with Neutral
#VALUE! | E27 | Integral | ILGLSE27DC054 | 7W | 1 | 2 | 11
#VALUE! | GU10 | DEWENWILS | ‎GU10-FTWA-5W | 5W | 1 | 4 | 16
#VALUE! | GU10 | Collingwood | H2 Lite CSP | 6W | 1 | 4 | 14
#VALUE! | C35/E14 | Phoenix-LED | GY2408 | 4W | 1 | NA | 20 | Only works with Neutral
#VALUE! | B35/E14 | Linkind | LL0103023 | 4.2W | 1 | NA | 20 | Only works with Neutral
#VALUE! | E14 | Belns Melns | 23W06 | 5W | 1 | NA | 16 | Only works with Neutral
#VALUE! | Wire | Ovia | OVIA INCEPTOR MILL OXMB-B-W | 4/6.4 | 1 | 4 | 14
#VALUE! | Wire | BELL | BELL 10525 7w Dimmable Anti-Glare LED CCT Downlight | 7W | 1 | 4 | 12
#VALUE! | GU10 | Fusion | EDLED/GU10WF/5WW/DIM | 5W | 1 | 8 | 16
#VALUE! | GU10 | Philips | MASTER Value LEDspot 6.2W Dimmable | 6.2 | 1 | 4 | 16
#VALUE! | GU10 | Orlight | LX5-7W Dimmable | 7W | 1 | 3 | 14
*LEDs must support trailing edge dimming **Min lamps – the minimum number of lights is only for the parasitic channel when used without neutral
Non-Dimmable***
IMG | Type | Manufacturer | Model | Wattage | Min lamps on neutral | Min lamps in parasitic** | Max lamps | Notes
***Non-Dimmable lights can be used if Tap is wired with Neutral. Channels must be set to non-dimmable
LED Drivers Compatibility
Dimmable*
IMG | Type | Manufacturer | Model |  | Watts | Min drivers | Max drivers | Notes
#VALUE! |  | REYLAX | DT-DS12V-60W |  | 60 | 1 | 1
#VALUE! |  | SimpleLighting | SP50-12/24VFT-1 |  | 50 | 1 | 2
#VALUE! |  | SimpleLighting | SP30-12/24VFT-1 |  | 30 | 1 | 3
#VALUE! |  | SimpleLighting | DRV-100W-D-12/24V |  | 100 | 1 | 1
#VALUE! |  | Saxby | 24v 100w 79334 |  | 100 | 1 | 1
*LED drivers must Support Trailing Edge dimming
Non-Dimmable**
IMG | Type | Manufacturer | Model | Wattage | Min lamps on neutral | Min lamps in parasitic** | Max lamps | Notes
*non-dimmable drivers can be used if Tap is wired with Neutral. Channels must be set to non-dimmable
Incandescent Lamps Compatibility
IMG | Type | Manufacturer | Model |  | Watts | Min lamps | Max lamps | Notes
#VALUE! | Any | Any | Any |  | Up to 100W | 40W | 100W