{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Specs_DG_Set"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"Specs_DG_Set","index":0,"n_rows":30,"n_cols":5,"rows_kept":30,"merged":[[0,0,0,2],[1,0,1,2],[2,0,2,1],[2,3,2,4],[3,0,3,1],[4,0,4,2],[5,0,5,2],[7,1,7,4],[25,0,25,4]]}
["YRGCARE",{"$nulls":3},"Remarks"]
["Specifications for Procurement of one (1 no.) 125 kVA Diesel Generator Set",null,null,"Vendor Name"]
[{"$nulls":3},"Print the offer in company Letter Head, with signature and company seal required."]
["Delivery Address",null,"Salamangalam, Sirumathur Village, Padappai (Old No. 193, New No. 179, Sirumathur, Padappai, Pincode – 601301) "]
["Project::General - Lab"]
["RFQ NO :005_2025"]
["S.No.","Description of Equipment / Service"," Description of Items","Unit Price               ","Wherever prices are included in main machine please state \"0\""]
[1,"125 kVA Diesel Generator Set"]
[2,"Brand / Model {Kirloskar | Escorts | Cummins | Other leading Indian Brands","To be indicated by vendor",null,"To be indicated by vendor"]
[3,"Type of Cooling (Water | Oil etc)"]
[4,"Alternator  (Type | Make)"]
[5,"Alternator side power cable termination & connection",null,null,"Please include costs for this service! {Cable already in place from Buyer's side!!}"]
[6,"Emission Standard ",null,null,"To be stated {Ex.CPCB 4 etc}"]
[7,"Acoustic Enclosure "]
[8,"Batteries as required"]
[9,"Battery Charger "]
[10,"Diesel Tank Capacity"]
[11,"Provision for automatic start",null,null,"Initially manual changer-over switch planned."]
[12,"Standard Warranties for all the equipments",null,null,"To be indicated per item separately."]
[13,"Battery - Warranty"]
[14,"Transit Insurance"]
[15,"Freight & loading and unloading costs up to installation bed.",null,null,"Delivery at  the installation address."]
[16,"Delivery period","Please state number of days post receipt of P.O.",null,"<<Days to delivery"]
[17,"Licensing CEIG","Apply to and secure license",null,"Indicate costs if any."]
[18,"RCC Civil Platform Dimensions",null,null,"Bidders to mention only the dimensions."]
["Buyer's scope {not to be quoted in the bid}"]
[null,"Armoured cable supply & laying"]
[null,"Earthing Pits - complete with GI & Copper Flats"]
[null,"Manual Change-over switches",null,null,"250 Amps"]
[null,"RCC Civil Platform",null,null,"Will be constructed by buyer based on dimensions provided."]