## Specs_DG_Set
YRGMERF |  |  |  | Remarks
Specifications for Procurement of one (1 no.) 58.5 kVA 3 Phase CNG Generator Set inclusive delivery, installation, commissioning & testing at site. |  |  | Vendor Name
Print the offer in company Letter Head, with signature and company seal.
Delivery Address |  | YRGMERF (Blueshed project) No. 2183, Dandi Ashram, Yamuna bazar, Delhi- 110 006
Project::BICC - BICC (Hepatitis B and HIV Cure Consortium)
RFQ NO :003_2026
S.No. | Description of Equipment / Service | Description of Items | Unit Price | Wherever prices are included in main machine please state "0"
1 | 58.5 kVA 3 Phase CNG Generator Set
2 | Brand / Model {Kirloskar ¦ Escorts ¦ Cummins ¦ Other leading Indian Brands} | To be indicated by vendor |  | To be indicated by vendor
3 | Type of Cooling (Water ¦ Oil etc)
4 | Alternator (Type ¦ Make)
5 | Alternator side power cable termination & connection |  |  | Please include costs for this service! {Cable already in place from Buyer's side!!}
6 | Emission Standard |  |  | To be stated {Ex.CPCB 4 etc}
7 | Acoustic Enclosure
8 | Batteries as required
9 | Battery Charger
10 | Fuel Tank Capacity
11 | Provision for automatic start |  |  | Initially manual changer-over switch planned.
12 | Standard Warranties for all the equipments |  |  | To be indicated per item separately.
13 | Battery - Warranty
14 | Transit Insurance
15 | Freight & loading and unloading costs up to installation bed. |  |  | Delivery at the installation address.
16 | Delivery period | Please state number of days post receipt of P.O. |  | <<Days to delivery
17 | Licensing CEIG | Apply to and secure license |  | Indicate costs if any.
Buyer's scope {not to be quoted in the bid}
Our site is ready for the generator installation.
The wiring work has also been finished, and the connection to the main board power point has been arranged.

## Site_Info
Sl.Nr. | Details needed on | YRGMERF responsds
1 | Contact Person Name – | Yuvaraj S V
2 | Contact Number - | +91 90 80 56 41 98
3 | Genset Installation Site location – | YRGMERF (Blueshed project) No. 2183, Dandi Ashram, Yamuna bazar, Delhi- 110 006
4 | Kva Rating – | 58.5 kVA
5 | Purpose - | To provide power back-up for the Deep Freezer and other devices as below:
| Equipment Details>>>>> Considering compressor starting load, safety margin, and future expansion, the CNG-Generator capacity requirement is calculated as follows: Recommended Capacity= Minimum: 40 kVA Preferred: 58.5 kVA (for safe and reliable operation) | -80°C Deep Freezer – 2 Nos
-20°C Deep Freezer – 1 No
Refrigerators – 3 Nos
Biosafety Cabinets – 2 Nos
Air Conditioners (2 Ton each) – 5 Nos
Eppendorf 4°C Centrifuge – 1 No
Estimated Load Summary:
Laboratory equipment load (including centrifuge): Approximately 6 – 10 kW
Air conditioning load: Approximately 9 – 13 kW
Total Estimated Running Load: ~15 – 23 kW